## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-BLR-ANANTA | FACILITIES/BUILDING | d9fd1270-218c-4998-ab93-c7be5bd22f31
Floors | IN-BLR-ANANTA-2 | FACILITIES/FLOOR | 28ed1456-9605-452d-8caf-164ddc4a7081 | IN-BLR-ANANTA
Rooms | IN-BLR-ANANTA-2-1ELECRM | FACILITIES/ROOM | ece78ab4-747d-42f3-8594-6081c1481319 | IN-BLR-ANANTA-2

## assets
entity_instance_name | udmi.version | udmi.device_version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.cloud.connection | udmi.gateway.gateway_id | udmi.gateway.proxy_ids | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | udmi.bacnet_addr | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device | dbo.cloud_device_id
HLI-18 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | GATEWAY |  | VAV-216,VAV-217,VAV-220,VAV-221,VAV-222,VAV-223,VAV-224,VAV-225,VAV-226,VAV-227,VAV-228,VAV-229,VAV-230,VAV-231,VAV-232,VAV-233 |  |  | 06a4cc6e-4439-409b-9373-5b09dcddc2d3 | IN-BLR-ANANTA | HLI-18 | HLI-18 | RS256_X509 | 11037 | Device | GATEWAYS/PASSTHROUGH | [6 empty] | 1234
VAV-216 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | e2c7f874-7c55-4355-bb43-969400b74a88 | IN-BLR-ANANTA | VAV-216 | VAV-216 |  | 11037 | Device | [7 empty] | 2333
VAV-217 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 06d17803-55df-4a9d-9640-356f0640c9d4 | IN-BLR-ANANTA | VAV-217 | VAV-217 |  | 11037 | Device
VAV-220 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 110b79f9-1ed4-4bec-9fdf-3741a793b903 | IN-BLR-ANANTA | VAV-220 | VAV-220 |  | 11037 | Device
VAV-221 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 68acf1ad-4811-47e9-bd2a-008d65a348b8 | IN-BLR-ANANTA | VAV-221 | VAV-221 |  | 11037 | Device
VAV-222 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | b3ba6994-3369-401f-841e-71890b3ca058 | IN-BLR-ANANTA | VAV-222 | VAV-222 |  | 11037 | Device
VAV-223 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | bab0181c-dd9d-47a0-9ec3-1411c03df2fd | IN-BLR-ANANTA | VAV-223 | VAV-223 |  | 11037 | Device
VAV-224 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 2d3f061d-42c9-4109-a699-6ad37f95fbe9 | IN-BLR-ANANTA | VAV-224 | VAV-224 |  | 11037 | Device
VAV-225 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 1bb4213b-4e78-447e-b942-285de3cc9eb8 | IN-BLR-ANANTA | VAV-225 | VAV-225 |  | 11037 | Device
VAV-226 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 45f33432-72f5-4b04-bc9c-d1d6324b4e5b | IN-BLR-ANANTA | VAV-226 | VAV-226 |  | 11037 | Device
VAV-227 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 11265245-bfd8-4ccc-b1fa-7c2ab050b111 | IN-BLR-ANANTA | VAV-227 | VAV-227 |  | 11037 | Device
VAV-228 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | d97a81bb-66c5-42fe-afd0-09751910a4a4 | IN-BLR-ANANTA | VAV-228 | VAV-228 |  | 11037 | Device
VAV-229 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 0c269319-e59f-4268-a576-985e9c19fa76 | IN-BLR-ANANTA | VAV-229 | VAV-229 |  | 11037 | Device
VAV-230 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 05f151cb-3a44-40b2-a11e-a23c65b5bd2a | IN-BLR-ANANTA | VAV-230 | VAV-230 |  | 11037 | Device
VAV-231 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 0c91568c-c596-4bce-b475-2f529997fb09 | IN-BLR-ANANTA | VAV-231 | VAV-231 |  | 11037 | Device
VAV-232 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 3db78eb2-7902-40e3-b643-6055f3f77f99 | IN-BLR-ANANTA | VAV-232 | VAV-232 |  | 11037 | Device
VAV-233 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 65c26d6e-5305-4d38-a802-7192708d2b96 | IN-BLR-ANANTA | VAV-233 | VAV-233 |  | 11037 | Device
[16 empty] | 11037 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.ref | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts | dbo.flag
VAV-216 | supply_air_damper_percentage_command | AV1 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command | percent: percent |  | N
VAV-216 | supply_air_flowrate_sensor | AV4 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor | cubic_feet_per_minute |  | N
VAV-216 | supply_air_flowrate_setpoint | AV1165 | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint | cubic_feet_per_minute |  | Y
VAV-216 | zone_air_co2_concentration_sensor | AV5 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor | parts_per_million |  | N
VAV-216 | zone_air_co2_concentration_setpoint | AV6 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint | parts_per_million |  | N
VAV-216 | supply_air_cooling_flowrate_capacity | AV2 | cubic_feet_per_minute |  |  |  |  | N
VAV-216 | supply_air_ventilation_flowrate_requirement | AV3 | cubic_feet_per_minute |  |  |  |  | N
VAV-217 | zone_air_temperature_sensor | AV25 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-217 | zone_air_cooling_temperature_setpoint | AV41 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-217 | supply_air_flowrate_sensor | AV34 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-217 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-217 | zone_occupancy_status | BV2 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-217 | supply_air_ventilation_flowrate_requirement | AV30 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-217 | supply_air_cooling_flowrate_capacity | AV27 | cubic_feet_per_minute |  |  |  |  | N
VAV-217 | supply_air_damper_percentage_command | AV22 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-220 | zone_air_temperature_sensor | AV62 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-220 | zone_air_cooling_temperature_setpoint | AV78 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-220 | supply_air_flowrate_sensor | AV71 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-220 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-220 | zone_occupancy_status | BV7 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-220 | supply_air_ventilation_flowrate_requirement | AV67 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-220 | supply_air_damper_percentage_command | AV59 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-220 | supply_air_cooling_flowrate_capacity | AV64 | cubic_feet_per_minute |  |  |  |  | N
VAV-221 | zone_air_temperature_sensor | AV93 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-221 | zone_air_cooling_temperature_setpoint | AV107 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-221 | supply_air_flowrate_sensor | AV103 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-221 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-221 | zone_occupancy_status | BV12 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-221 | supply_air_ventilation_flowrate_requirement | AV101 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-221 | supply_air_damper_percentage_command | AV95 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-221 | supply_air_cooling_flowrate_capacity | AV100 | cubic_feet_per_minute |  |  |  |  | N
VAV-222 | zone_air_temperature_sensor | AV374 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-222 | zone_air_cooling_temperature_setpoint | AV390 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-222 | supply_air_flowrate_sensor | AV383 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-222 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-222 | zone_occupancy_status | BV17 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-222 | supply_air_ventilation_flowrate_requirement | AV379 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-222 | supply_air_damper_percentage_command | AV371 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-222 | supply_air_cooling_flowrate_capacity | AV376 | cubic_feet_per_minute |  |  |  |  | N
VAV-223 | zone_air_temperature_sensor | AV411 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-223 | zone_air_cooling_temperature_setpoint | AV422 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-223 | supply_air_flowrate_sensor | AV416 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-223 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-223 | zone_air_co2_concentration_sensor | AV418 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor |  |  | N
VAV-223 | zone_air_co2_concentration_setpoint | AV419 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint |  |  | N
VAV-223 | zone_occupancy_status | BV22 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-223 | supply_air_ventilation_flowrate_requirement | AV414 | [5 empty] | N
VAV-223 | supply_air_cooling_flowrate_capacity | AV413 | cubic_feet_per_minute |  |  |  |  | N
VAV-224 | zone_air_temperature_sensor | AV443 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-224 | zone_air_cooling_temperature_setpoint | AV454 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-224 | supply_air_flowrate_sensor | AV448 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-224 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-224 | zone_air_co2_concentration_sensor | AV450 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor |  |  | N
VAV-224 | zone_air_co2_concentration_setpoint | AV451 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint |  |  | N
VAV-224 | zone_occupancy_status | BV27 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-224 | supply_air_ventilation_flowrate_requirement | AV446 | [5 empty] | N
VAV-224 | supply_air_cooling_flowrate_capacity | AV445 | cubic_feet_per_minute |  |  |  |  | N
VAV-225 | zone_air_temperature_sensor | AV475 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-225 | zone_air_cooling_temperature_setpoint | AV491 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-225 | supply_air_flowrate_sensor | AV484 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-225 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-225 | zone_occupancy_status | BV32 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-225 | supply_air_ventilation_flowrate_requirement | AV480 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-225 | supply_air_damper_percentage_command | AV472 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-225 | supply_air_cooling_flowrate_capacity | AV477 | cubic_feet_per_minute |  |  |  |  | N
VAV-226 | zone_air_temperature_sensor | AV512 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-226 | zone_air_cooling_temperature_setpoint | AV528 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-226 | supply_air_flowrate_sensor | AV558 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-226 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-226 | zone_occupancy_status | BV37 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-226 | supply_air_ventilation_flowrate_requirement | AV517 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-226 | supply_air_damper_percentage_command | AV509 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-226 | supply_air_cooling_flowrate_capacity | AV514 | cubic_feet_per_minute |  |  |  |  | N
VAV-227 | zone_air_temperature_sensor | AV549 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-227 | zone_air_cooling_temperature_setpoint | AV565 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-227 | supply_air_flowrate_sensor | AV558 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-227 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-227 | zone_occupancy_status | BV45 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-227 | supply_air_ventilation_flowrate_requirement | AV554 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-227 | supply_air_damper_percentage_command | AV546 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-227 | supply_air_cooling_flowrate_capacity | AV551 | cubic_feet_per_minute |  |  |  |  | N
VAV-228 | zone_air_temperature_sensor | AV586 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-228 | zone_air_cooling_temperature_setpoint | AV602 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-228 | supply_air_flowrate_sensor | AV595 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-228 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-228 | zone_occupancy_status | BV50 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-228 | supply_air_ventilation_flowrate_requirement | AV591 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-228 | supply_air_damper_percentage_command | AV583 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-228 | supply_air_cooling_flowrate_capacity | AV588 | cubic_feet_per_minute |  |  |  |  | N
VAV-229 | zone_air_temperature_sensor | AV623 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-229 | zone_air_cooling_temperature_setpoint | AV639 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-229 | supply_air_flowrate_sensor | AV632 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-229 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-229 | zone_occupancy_status | BV55 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-229 | supply_air_ventilation_flowrate_requirement | AV628 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-229 | supply_air_damper_percentage_command | AV620 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-229 | supply_air_cooling_flowrate_capacity | AV625 | cubic_feet_per_minute |  |  |  |  | N
VAV-230 | zone_air_temperature_sensor | AV654 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-230 | zone_air_cooling_temperature_setpoint | AV668 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-230 | supply_air_flowrate_sensor | AV664 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-230 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-230 | zone_occupancy_status | BV120 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-230 | supply_air_ventilation_flowrate_requirement | AV662 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-230 | supply_air_damper_percentage_command | AV656 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-230 | supply_air_cooling_flowrate_capacity | AV661 | cubic_feet_per_minute |  |  |  |  | N
VAV-231 | zone_air_temperature_sensor | AV683 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-231 | zone_air_cooling_temperature_setpoint | AV697 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-231 | supply_air_flowrate_sensor | AV693 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-231 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-231 | zone_occupancy_status | BV125 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-231 | supply_air_ventilation_flowrate_requirement | AV691 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-231 | supply_air_damper_percentage_command | AV685 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-231 | supply_air_cooling_flowrate_capacity | AV690 | cubic_feet_per_minute |  |  |  |  | N
VAV-232 | zone_air_temperature_sensor | AV718 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-232 | zone_air_cooling_temperature_setpoint | AV734 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-232 | supply_air_flowrate_sensor | AV727 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-232 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-232 | zone_occupancy_status | BV130 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-232 | supply_air_ventilation_flowrate_requirement | AV723 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-232 | supply_air_damper_percentage_command | AV715 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  | PDSCV | N
VAV-232 | supply_air_cooling_flowrate_capacity | AV729 | cubic_feet_per_minute |  |  |  |  | N
VAV-233 | zone_air_temperature_sensor | AV755 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-233 | zone_air_cooling_temperature_setpoint | AV771 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  | PDSCV | N
VAV-233 | supply_air_flowrate_sensor | AV764 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-233 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-233 | zone_occupancy_status | BV135 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-233 | supply_air_ventilation_flowrate_requirement | AV760 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-233 | supply_air_damper_percentage_command | AV752 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-233 | supply_air_cooling_flowrate_capacity | AV764 | cubic_feet_per_minute
EDPM
EDPM
[7 empty] | STM | Existing
[7 empty] | ZTM, ZTC, CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | ZTC, CHWZTC | Existing
New Field & Abstract Required
New Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | CHWFRM | Existing
New Abstract Required

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device