## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-BLR-ANANTA | FACILITIES/BUILDING | d9fd1270-218c-4998-ab93-c7be5bd22f31
Floors | IN-BLR-ANANTA-2 | FACILITIES/FLOOR | 28ed1456-9605-452d-8caf-164ddc4a7081 | IN-BLR-ANANTA
Rooms | IN-BLR-ANANTA-2-1ELECRM | FACILITIES/ROOM | ece78ab4-747d-42f3-8594-6081c1481319 | IN-BLR-ANANTA-2

## assets
entity_instance_name | udmi.version | udmi.device_version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.cloud.connection | udmi.gateway.gateway_id | udmi.gateway.proxy_ids | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | udmi.bacnet_addr | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device | dbo.cloud_device_id
HLI-18 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2-1ELECRM | GATEWAY |  | VAV-216 |  |  | 06a4cc6e-4439-409b-9373-5b09dcddc2d3 | IN-BLR-ANANTA | HLI-18 | HLI-18 | RS256_X509 | 11037 | Device | GATEWAYS/PASSTHROUGH | [6 empty] | 1234
VAV-216 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2-1ELECRM | GATEWAY | HLI-18 |  |  |  | e2c7f874-7c55-4355-bb43-969400b74a88 | IN-BLR-ANANTA | VAV-216 | VAV-216 |  | 11037 | Device | HVAC/VAV_SD_CO2C | [6 empty] | 2333

## device_entities
points_type | udmi.pointset.points | udmi.pointset.ref | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts | dbo.flag
VAV-216 | supply_air_damper_percentage_command | AV1 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command | percent: percent |  | Y
VAV-216 | supply_air_flowrate_sensor | AV4 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor | cubic_feet_per_minute |  | Y
VAV-216 | supply_air_flowrate_setpoint | AV1165 | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint | cubic_feet_per_minute |  | N
VAV-216 | zone_air_co2_concentration_sensor | AV5 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor | parts_per_million |  | Y
VAV-216 | zone_air_co2_concentration_setpoint | AV6 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint | parts_per_million |  | Y
PDSCV
PDSCV
EDPM
EDPM
[7 empty] | STM | Existing
[7 empty] | ZTM, ZTC, CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | ZTC, CHWZTC | Existing
New Field & Abstract Required
New Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | CHWFRM | Existing
New Abstract Required

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device