## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | UK-LON-BLDNG1 | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | UK-LON-BLDNG1_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | UK-LON-BLDNG1
Rooms | UK-LON-BLDNG1_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | UK-LON-BLDNG1,UK-LON-BLDNG1_FL1
Zones | UK-LON-BLDNG1_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | UK-LON-BLDNG1_RM1,UK-LON-BLDNG1_FL1,UK-LON-BLDNG1
Rooms | UK-LON-BLDNG1_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | UK-LON-BLDNG1_FL1,UK-LON-BLDNG1
Zones | UK-LON-BLDNG1_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | UK-LON-BLDNG1_RM2,UK-LON-BLDNG1_FL1,UK-LON-BLDNG1

## assets
entity_instance_name | udmi.version | udmi.device_version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.cloud.connection | udmi.gateway.gateway_id | udmi.gateway.proxy_ids | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | udmi.bacnet_addr | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-101 | 1.4.2 | 1.4.2 | 2024-06-10T09:03:43Z | IN-BLR-RIO | IN-BLR-RIO-7F-RM-1 | GATEWAY |  | AHU-123, AHU-122 |  |  | 9e7c08d9-5c7b-47c7-a664-9e01cb070d39 | IN-BLR-RIO | HLI-101 | HLI_101_1 | RS256_X509 | 112345 | Device | ELECTRICAL/CB_SS |  |  |  |  | RB2-043 | BMS-45
AHU-102 | 1.4.2 | 1.4.2 | 2024-06-10T09:03:43Z | IN-BLR-RIO | IN-BLR-RIO-7F-RM-2 | PROXIED | HLI-234 | AHU-123, AHU-122 |  |  | 9e7c08d9-5c7b-47c7-a664-9e01cb070d31 | IN-BLR-RIO | AHU-102 | AHU_102 | RS256_X509 | 1123457 | Device | ELECTRICAL/CB_SH |  |  |  |  | RB2-043 | BMS-45
UPS-102 | 1.4.2 | 1.4.2 | 2024-06-10T09:03:43Z | IN-BLR-RIO | IN-BLR-RIO-7F-RM-1 | DEVICE |  | AHU-123, AHU-122 |  |  | 9e7c08d9-5c7b-47c7-a664-9e01cb070d40 | IN-BLR-RIO | UPS-102 | UPS_102 | RS256_X509 | 1123456 | Device | ELECTRICAL/CB_SJ |  |  |  |  | RB2-043 | BMS-45

## device_entities
points_type | udmi.pointset.points | udmi.pointset.ref | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
UPS_102 | voltage_sensor | AV1 | volts | 1=ON 0=OFF | ABC
AHU_102 | temperature_sensor | MV23 | degrees_celcius | 1=ON 0=OFF | PQR
PDSCV
PDSCV
EDPM
EDPM
[7 empty] | STM | Existing
[7 empty] | ZTM, ZTC, CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | ZTC, CHWZTC | Existing
New Field & Abstract Required
New Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | CHWFRM | Existing
New Abstract Required

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device