## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-BLR-ANANTA | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-BLR-ANANTA-1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-BLR-ANANTA
Rooms | IN-BLR-ANANTA-1ELECRM | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-BLR-ANANTA-1

## assets
entity_instance_name | udmi.version | udmi.device_version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.cloud.connection | udmi.gateway.gateway_id | udmi.gateway.proxy_ids | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | udmi.bacnet_addr | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device | dbo.cloud_device_id
HLI-1 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-1ELECRM | GATEWAY |  | CB-1,CB-2 |  |  | 9e7c08d9-5c7b-47c7-a664-9e01cb070d39 | IN-BLR-ANANTA | HLI-1 | HLI-1 | RS256_X509 |  | Device | GATEWAY/PASSTHROUGH | [6 empty] | 1234
CB-1 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-1ELECRM | GATEWAY | HLI-1 |  |  |  | 9e7c08d9-5c7b-47c7-a764-9e01cb070d39 | IN-BLR-ANANTA | CB-1 | CB-1 |  | 1222 | Device | ELECTRICAL/CB_SS | [6 empty] | 2333
CB-2 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-1ELECRM | GATEWAY | HLI-1 |  |  |  | 9e7c08d9-5c7b-47c7-a964-9e01cb070d39 | IN-BLR-ANANTA | CB-2 | CB-2 |  | 1222 | Device | ELECTRICAL/CB_SS | [6 empty] | 3444

## device_entities
points_type | udmi.pointset.points | udmi.pointset.ref | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts | dbo.flag
CB-1 | run_status | BV1 |  | 1=ON 0=OFF | run_status |  |  | N
HLI-1 | discharge_fan_run_command | AV1 |  | 1=ON 0=OFF | discharge_fan_run_command |  |  | N
CB-2 | run_status | BV1 |  | 1=ON 0=OFF | run_status |  |  | Y
CB-2 | run_command | BV1 |  | 1=ON 0=OFF | run_command |  |  | N
CB-1 | run_command | BV2 |  | 1=ON 0=OFF | run_command |  |  | Y
PDSCV
PDSCV
EDPM
EDPM
[7 empty] | STM | Existing
[7 empty] | ZTM, ZTC, CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
[7 empty] | CHWZTC | Existing
New Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | ZTC, CHWZTC | Existing
New Field & Abstract Required
New Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfield, Field & Abstract Required
New Subfields, Field & Abstract Required
[7 empty] | CHWFRM | Existing
New Abstract Required

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device