## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-BLR-ANANTA | FACILITIES/BUILDING | d9fd1270-218c-4998-ab93-c7be5bd22f31
Floors | IN-BLR-ANANTA-2 | FACILITIES/FLOOR | 28ed1456-9605-452d-8caf-164ddc4a7081 | IN-BLR-ANANTA
Rooms | IN-BLR-ANANTA-2-1ELECRM | FACILITIES/ROOM | ece78ab4-747d-42f3-8594-6081c1481319 | IN-BLR-ANANTA-2

## assets
entity_instance_name | udmi.version | udmi.device_version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.cloud.connection | udmi.gateway.gateway_id | udmi.gateway.proxy_ids | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | udmi.bacnet_addr | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device | dbo.cloud_device_id
HLI-18 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | GATEWAY |  | VAV-216,VAV-217,VAV-220,VAV-221,VAV-222,VAV-223,VAV-224,VAV-225,VAV-226,VAV-227,VAV-228,VAV-229,VAV-230,VAV-231,VAV-232,VAV-233 |  |  | 06a4cc6e-4439-409b-9373-5b09dcddc2d3 | IN-BLR-ANANTA | HLI-18 | HLI-18 | RS256_X509 | 11037 | Device | GATEWAYS/PASSTHROUGH | [6 empty] | 1234
VAV-216 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | e2c7f874-7c55-4355-bb43-969400b74a88 | IN-BLR-ANANTA | VAV-216 | VAV-216 |  | 11037 | Device | [7 empty] | 2333
VAV-217 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 06d17803-55df-4a9d-9640-356f0640c9d4 | IN-BLR-ANANTA | VAV-217 | VAV-217 |  | 11037 | Device
VAV-220 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 110b79f9-1ed4-4bec-9fdf-3741a793b903 | IN-BLR-ANANTA | VAV-220 | VAV-220 |  | 11037 | Device
VAV-221 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 68acf1ad-4811-47e9-bd2a-008d65a348b8 | IN-BLR-ANANTA | VAV-221 | VAV-221 |  | 11037 | Device
VAV-222 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | b3ba6994-3369-401f-841e-71890b3ca058 | IN-BLR-ANANTA | VAV-222 | VAV-222 |  | 11037 | Device
VAV-223 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | bab0181c-dd9d-47a0-9ec3-1411c03df2fd | IN-BLR-ANANTA | VAV-223 | VAV-223 |  | 11037 | Device
VAV-224 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 2d3f061d-42c9-4109-a699-6ad37f95fbe9 | IN-BLR-ANANTA | VAV-224 | VAV-224 |  | 11037 | Device
VAV-225 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 1bb4213b-4e78-447e-b942-285de3cc9eb8 | IN-BLR-ANANTA | VAV-225 | VAV-225 |  | 11037 | Device
VAV-226 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 45f33432-72f5-4b04-bc9c-d1d6324b4e5b | IN-BLR-ANANTA | VAV-226 | VAV-226 |  | 11037 | Device
VAV-227 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 11265245-bfd8-4ccc-b1fa-7c2ab050b111 | IN-BLR-ANANTA | VAV-227 | VAV-227 |  | 11037 | Device
VAV-228 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | d97a81bb-66c5-42fe-afd0-09751910a4a4 | IN-BLR-ANANTA | VAV-228 | VAV-228 |  | 11037 | Device
VAV-229 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 0c269319-e59f-4268-a576-985e9c19fa76 | IN-BLR-ANANTA | VAV-229 | VAV-229 |  | 11037 | Device
VAV-230 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 05f151cb-3a44-40b2-a11e-a23c65b5bd2a | IN-BLR-ANANTA | VAV-230 | VAV-230 |  | 11037 | Device
VAV-231 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 0c91568c-c596-4bce-b475-2f529997fb09 | IN-BLR-ANANTA | VAV-231 | VAV-231 |  | 11037 | Device
VAV-232 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 3db78eb2-7902-40e3-b643-6055f3f77f99 | IN-BLR-ANANTA | VAV-232 | VAV-232 |  | 11037 | Device
VAV-233 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-18 |  |  |  | 65c26d6e-5305-4d38-a802-7192708d2b96 | IN-BLR-ANANTA | VAV-233 | VAV-233 |  | 11037 | Device
DDC-18 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | GATEWAY |  | BTU-12,WLD-14 |  |  | 1e6add8b-10ad-4130-ba21-7d920468931b | IN-BLR-ANANTA | DDC-18 | DDC-18 | RS256_X509 | 11036 | Device
BTU-12 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | DDC-18 |  |  |  | ee745644-a1c7-4398-aae8-04125bb0d16d | IN-BLR-ANANTA | BTU-12 | BTU-12 |  | 11036 | Device
WLD-14 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | DDC-18 |  |  |  | 8d139527-67b4-473f-a958-7ffd470139b9 | IN-BLR-ANANTA | WLD-14 | WLD-14 |  | 11261 | Device
HLI-19 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | GATEWAY |  | VAV-252,VAV-253,VAV-254,VAV-255,VAV-256,VAV-257,VAV-258,VAV-259,VAV-260,VAV-261,VAV-262,VAV-263,VAV-264,VAV-265,VAV-266,VAV-267,VAV-268,VAV-269,VAV-270,VAV-271,VAV-272,VAV-273,VAV-274,VAV-275,VAV-276 |  |  | cb1a0f58-90e4-414a-b761-de3155b40121 | IN-BLR-ANANTA | HLI-19 | HLI-19 | RS256_X509 | 11039 | Device
VAV-252 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | c52a11a1-eba4-4bfa-86a9-bf1644780582 | IN-BLR-ANANTA | VAV-252 | VAV-252 |  | 11039 | Device
VAV-253 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 1e384896-bd28-4cd4-be96-5ab3b152c1ce | IN-BLR-ANANTA | VAV-253 | VAV-253 |  | 11039 | Device
VAV-254 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | d754ef13-6959-486b-95da-0f986d723ff1 | IN-BLR-ANANTA | VAV-254 | VAV-254 |  | 11039 | Device
VAV-255 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 321b3ce5-4e43-4a12-8267-49da3d3825b1 | IN-BLR-ANANTA | VAV-255 | VAV-255 |  | 11039 | Device
VAV-256 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 35310156-f0f3-4a2a-8c5f-b6f0c10950b4 | IN-BLR-ANANTA | VAV-256 | VAV-256 |  | 11039 | Device
VAV-257 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 7b5e40fd-8614-464c-92d5-0332ab51091a | IN-BLR-ANANTA | VAV-257 | VAV-257 |  | 11039 | Device
VAV-258 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 38771480-511b-41cf-b299-8de635e476d2 | IN-BLR-ANANTA | VAV-258 | VAV-258 |  | 11039 | Device
VAV-259 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | b300b2f2-f821-4da5-8009-fc88b6d38e0e | IN-BLR-ANANTA | VAV-259 | VAV-259 |  | 11039 | Device
VAV-260 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | df889170-ddc1-4ccc-a6d3-53bf82e1983d | IN-BLR-ANANTA | VAV-260 | VAV-260 |  | 11039 | Device
VAV-261 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 110fb03e-0864-4eb1-aad6-d2035a6c32a2 | IN-BLR-ANANTA | VAV-261 | VAV-261 |  | 11039 | Device
VAV-262 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | a7ebb59d-5716-4a94-81a6-e199005b9803 | IN-BLR-ANANTA | VAV-262 | VAV-262 |  | 11039 | Device
VAV-263 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 0a4b920f-dc71-46f5-8c4d-5bb1abd6db2c | IN-BLR-ANANTA | VAV-263 | VAV-263 |  | 11039 | Device
VAV-264 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 45e8cd6a-3448-4173-bdf2-d7a028660cba | IN-BLR-ANANTA | VAV-264 | VAV-264 |  | 11039 | Device
VAV-265 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 8f648896-847d-4e92-af0c-52a760ae3e4f | IN-BLR-ANANTA | VAV-265 | VAV-265 |  | 11039 | Device
VAV-266 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 5f4063bd-dab9-44a4-b1fb-b45382e74cea | IN-BLR-ANANTA | VAV-266 | VAV-266 |  | 11039 | Device
VAV-267 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 8cf799d5-a051-403d-a99d-9de107f6df38 | IN-BLR-ANANTA | VAV-267 | VAV-267 |  | 11039 | Device
VAV-268 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | d5c506d8-aba1-413d-ac84-adeb9f3d6592 | IN-BLR-ANANTA | VAV-268 | VAV-268 |  | 11039 | Device
VAV-269 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 359bd461-62d5-482c-a9c4-38daebe968c7 | IN-BLR-ANANTA | VAV-269 | VAV-269 |  | 11039 | Device
VAV-270 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 3bacd6ce-847e-4b1e-b187-6a8d4e72bb89 | IN-BLR-ANANTA | VAV-270 | VAV-270 |  | 11039 | Device
VAV-271 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 86a9405d-24a3-48a4-aafc-600b38dc3172 | IN-BLR-ANANTA | VAV-271 | VAV-271 |  | 11039 | Device
VAV-272 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | e25ddc28-dac6-4863-b41c-08aa1bec20a5 | IN-BLR-ANANTA | VAV-272 | VAV-272 |  | 11039 | Device
VAV-273 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 749f3c9d-d9dd-4cdd-b7ed-ce38b529beaa | IN-BLR-ANANTA | VAV-273 | VAV-273 |  | 11039 | Device
VAV-274 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 65304b84-5e4a-4953-ab9e-92a1aadd531e | IN-BLR-ANANTA | VAV-274 | VAV-274 |  | 11039 | Device
VAV-275 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | 6a757ed3-8f89-46b4-9842-16b8305f5994 | IN-BLR-ANANTA | VAV-275 | VAV-275 |  | 11039 | Device
VAV-276 | 1.4.2 | 1.4.2 | 2024-08-15T09:03:43Z | IN-BLR-ANANTA | IN-BLR-ANANTA-2 | PROXIED | HLI-19 |  |  |  | e04080a6-dbf0-4b99-abf6-345ae9be7095 | IN-BLR-ANANTA | VAV-276 | VAV-276 |  | 11039 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.ref | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts | dbo.flag
VAV-216 | supply_air_damper_percentage_command | AV1 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command | percent: percent |  | N
VAV-216 | supply_air_flowrate_sensor | AV4 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor | cubic_feet_per_minute |  | N
VAV-216 | supply_air_flowrate_setpoint | AV1165 | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint | cubic_feet_per_minute |  | Y
VAV-216 | zone_air_co2_concentration_sensor | AV5 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor | parts_per_million |  | N
VAV-216 | zone_air_co2_concentration_setpoint | AV6 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint | parts_per_million |  | N
VAV-216 | supply_air_cooling_flowrate_capacity | AV2 | cubic_feet_per_minute |  |  |  |  | N
VAV-216 | supply_air_ventilation_flowrate_requirement | AV3 | cubic_feet_per_minute |  |  |  |  | N
VAV-217 | zone_air_temperature_sensor | AV25 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-217 | zone_air_cooling_temperature_setpoint | AV41 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-217 | supply_air_flowrate_sensor | AV34 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-217 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-217 | zone_occupancy_status | BV2 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-217 | supply_air_ventilation_flowrate_requirement | AV30 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-217 | supply_air_cooling_flowrate_capacity | AV27 | cubic_feet_per_minute |  |  |  |  | N
VAV-217 | supply_air_damper_percentage_command | AV22 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-220 | zone_air_temperature_sensor | AV62 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-220 | zone_air_cooling_temperature_setpoint | AV78 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-220 | supply_air_flowrate_sensor | AV71 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-220 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-220 | zone_occupancy_status | BV7 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-220 | supply_air_ventilation_flowrate_requirement | AV67 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-220 | supply_air_damper_percentage_command | AV59 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-220 | supply_air_cooling_flowrate_capacity | AV64 | cubic_feet_per_minute |  |  |  |  | N
VAV-221 | zone_air_temperature_sensor | AV93 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-221 | zone_air_cooling_temperature_setpoint | AV107 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-221 | supply_air_flowrate_sensor | AV103 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-221 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-221 | zone_occupancy_status | BV12 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-221 | supply_air_ventilation_flowrate_requirement | AV101 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-221 | supply_air_damper_percentage_command | AV95 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-221 | supply_air_cooling_flowrate_capacity | AV100 | cubic_feet_per_minute |  |  |  |  | N
VAV-222 | zone_air_temperature_sensor | AV374 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-222 | zone_air_cooling_temperature_setpoint | AV390 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-222 | supply_air_flowrate_sensor | AV383 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-222 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-222 | zone_occupancy_status | BV17 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-222 | supply_air_ventilation_flowrate_requirement | AV379 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-222 | supply_air_damper_percentage_command | AV371 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-222 | supply_air_cooling_flowrate_capacity | AV376 | cubic_feet_per_minute |  |  |  |  | N
VAV-223 | zone_air_temperature_sensor | AV411 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-223 | zone_air_cooling_temperature_setpoint | AV422 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-223 | supply_air_flowrate_sensor | AV416 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-223 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-223 | zone_air_co2_concentration_sensor | AV418 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor |  |  | N
VAV-223 | zone_air_co2_concentration_setpoint | AV419 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint |  |  | N
VAV-223 | zone_occupancy_status | BV22 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-223 | supply_air_ventilation_flowrate_requirement | AV414 | [5 empty] | N
VAV-223 | supply_air_cooling_flowrate_capacity | AV413 | cubic_feet_per_minute |  |  |  |  | N
VAV-224 | zone_air_temperature_sensor | AV443 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-224 | zone_air_cooling_temperature_setpoint | AV454 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-224 | supply_air_flowrate_sensor | AV448 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-224 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-224 | zone_air_co2_concentration_sensor | AV450 | parts_per_million | zone_air_co2_concentration_sensor | zone_air_co2_concentration_sensor |  |  | N
VAV-224 | zone_air_co2_concentration_setpoint | AV451 | parts_per_million | zone_air_co2_concentration_setpoint | zone_air_co2_concentration_setpoint |  |  | N
VAV-224 | zone_occupancy_status | BV27 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-224 | supply_air_ventilation_flowrate_requirement | AV446 | [5 empty] | N
VAV-224 | supply_air_cooling_flowrate_capacity | AV445 | cubic_feet_per_minute |  |  |  |  | N
VAV-225 | zone_air_temperature_sensor | AV475 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-225 | zone_air_cooling_temperature_setpoint | AV491 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-225 | supply_air_flowrate_sensor | AV484 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-225 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-225 | zone_occupancy_status | BV32 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-225 | supply_air_ventilation_flowrate_requirement | AV480 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-225 | supply_air_damper_percentage_command | AV472 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-225 | supply_air_cooling_flowrate_capacity | AV477 | cubic_feet_per_minute |  |  |  |  | N
VAV-226 | zone_air_temperature_sensor | AV512 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-226 | zone_air_cooling_temperature_setpoint | AV528 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-226 | supply_air_flowrate_sensor | AV558 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-226 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-226 | zone_occupancy_status | BV37 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-226 | supply_air_ventilation_flowrate_requirement | AV517 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-226 | supply_air_damper_percentage_command | AV509 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-226 | supply_air_cooling_flowrate_capacity | AV514 | cubic_feet_per_minute |  |  |  |  | N
VAV-227 | zone_air_temperature_sensor | AV549 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-227 | zone_air_cooling_temperature_setpoint | AV565 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-227 | supply_air_flowrate_sensor | AV558 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-227 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-227 | zone_occupancy_status | BV45 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-227 | supply_air_ventilation_flowrate_requirement | AV554 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-227 | supply_air_damper_percentage_command | AV546 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-227 | supply_air_cooling_flowrate_capacity | AV551 | cubic_feet_per_minute |  |  |  |  | N
VAV-228 | zone_air_temperature_sensor | AV586 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-228 | zone_air_cooling_temperature_setpoint | AV602 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-228 | supply_air_flowrate_sensor | AV595 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-228 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-228 | zone_occupancy_status | BV50 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-228 | supply_air_ventilation_flowrate_requirement | AV591 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-228 | supply_air_damper_percentage_command | AV583 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-228 | supply_air_cooling_flowrate_capacity | AV588 | cubic_feet_per_minute |  |  |  |  | N
VAV-229 | zone_air_temperature_sensor | AV623 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-229 | zone_air_cooling_temperature_setpoint | AV639 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-229 | supply_air_flowrate_sensor | AV632 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-229 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-229 | zone_occupancy_status | BV55 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-229 | supply_air_ventilation_flowrate_requirement | AV628 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-229 | supply_air_damper_percentage_command | AV620 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-229 | supply_air_cooling_flowrate_capacity | AV625 | cubic_feet_per_minute |  |  |  |  | N
VAV-230 | zone_air_temperature_sensor | AV654 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-230 | zone_air_cooling_temperature_setpoint | AV668 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-230 | supply_air_flowrate_sensor | AV664 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-230 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-230 | zone_occupancy_status | BV120 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-230 | supply_air_ventilation_flowrate_requirement | AV662 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-230 | supply_air_damper_percentage_command | AV656 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-230 | supply_air_cooling_flowrate_capacity | AV661 | cubic_feet_per_minute |  |  |  |  | N
VAV-231 | zone_air_temperature_sensor | AV683 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-231 | zone_air_cooling_temperature_setpoint | AV697 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-231 | supply_air_flowrate_sensor | AV693 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-231 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-231 | zone_occupancy_status | BV125 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-231 | supply_air_ventilation_flowrate_requirement | AV691 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-231 | supply_air_damper_percentage_command | AV685 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-231 | supply_air_cooling_flowrate_capacity | AV690 | cubic_feet_per_minute |  |  |  |  | N
VAV-232 | zone_air_temperature_sensor | AV718 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-232 | zone_air_cooling_temperature_setpoint | AV734 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  |  | N
VAV-232 | supply_air_flowrate_sensor | AV727 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-232 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-232 | zone_occupancy_status | BV130 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-232 | supply_air_ventilation_flowrate_requirement | AV723 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-232 | supply_air_damper_percentage_command | AV715 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  | PDSCV | N
VAV-232 | supply_air_cooling_flowrate_capacity | AV729 | cubic_feet_per_minute |  |  |  |  | N
VAV-233 | zone_air_temperature_sensor | AV755 | degrees_celsius | zone_air_temperature_sensor | zone_air_temperature_sensor |  |  | N
VAV-233 | zone_air_cooling_temperature_setpoint | AV771 | degrees_celsius | zone_air_cooling_temperature_setpoint | zone_air_cooling_temperature_setpoint |  | PDSCV | N
VAV-233 | supply_air_flowrate_sensor | AV764 | cubic_feet_per_minute | supply_air_flowrate_sensor | supply_air_flowrate_sensor |  |  | N
VAV-233 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute | supply_air_flowrate_setpoint | supply_air_flowrate_setpoint |  |  | Y
VAV-233 | zone_occupancy_status | BV135 |  | zone_occupancy_status | zone_occupancy_status |  |  | N
VAV-233 | supply_air_ventilation_flowrate_requirement | AV760 | cubic_feet_per_minute | supply_air_ventilation_flowrate_requirement | supply_air_ventilation_flowrate_requirement |  |  | N
VAV-233 | supply_air_damper_percentage_command | AV752 | percent | supply_air_damper_percentage_command | supply_air_damper_percentage_command |  |  | N
VAV-233 | supply_air_cooling_flowrate_capacity | AV764 | cubic_feet_per_minute |  |  |  |  | N
BTU-12 | cooling_thermal_energy_accumulator | AV314 | megawatt_hours | cooling_thermal_energy_accumulator |  |  |  | N
BTU-12 | chilled_supply_water_temperature_sensor | AV317 | degrees_celsius | chilled_supply_water_temperature_sensor |  |  |  | N
BTU-12 | chilled_return_water_temperature_sensor | AV318 | degrees_celsius | chilled_return_water_temperature_sensor |  |  |  | N
BTU-12 | cooling_thermal_power_sensor | AV347 | kilowatts | cooling_thermal_power_sensor |  |  |  | N
BTU-12 | chilled_water_flowrate_sensor | AV348 | cubic_meters | chilled_water_flowrate_sensor |  |  |  | N
BTU-12 | water_volume_accumulator | AV350 | cubic_meters_per_hour | water_volume_accumulator |  |  |  | N
WLD-14 | water_leak_detection_alarm | BI1 | [5 empty] | N
VAV-252 | supply_air_damper_percentage_command | AV419 | percent |  |  |  |  | N
VAV-252 | zone_air_temperature_sensor | AV422 | degrees_celsius |  |  |  |  | N
VAV-252 | supply_air_cooling_flowrate_capacity | AV424 | cubic_feet_per_minute |  |  |  |  | N
VAV-252 | supply_air_ventilation_flowrate_requirement | AV427 | cubic_feet_per_minute |  |  |  |  | N
VAV-252 | supply_air_flowrate_sensor | AV431 | cubic_feet_per_minute |  |  |  |  | N
VAV-252 | zone_air_cooling_temperature_setpoint | AV438 | degrees_celsius |  |  |  |  | N
VAV-252 | zone_occupancy_status | BV59 | [5 empty] | N
VAV-253 | supply_air_damper_percentage_command | AV456 | percent |  |  |  |  | N
VAV-253 | zone_air_temperature_sensor | AV459 | degrees_celsius |  |  |  |  | N
VAV-253 | supply_air_cooling_flowrate_capacity | AV461 | cubic_feet_per_minute |  |  |  |  | N
VAV-253 | supply_air_ventilation_flowrate_requirement | AV464 | cubic_feet_per_minute |  |  |  |  | N
VAV-253 | supply_air_flowrate_sensor | AV468 | cubic_feet_per_minute |  |  |  |  | N
VAV-253 | zone_air_cooling_temperature_setpoint | AV475 | degrees_celsius |  |  |  |  | N
VAV-253 | zone_occupancy_status | BV64 | [5 empty] | N
VAV-255 | supply_air_damper_percentage_command | AV493 | percent |  |  |  |  | N
VAV-255 | zone_air_temperature_sensor | AV496 | degrees_celsius |  |  |  |  | N
VAV-255 | supply_air_cooling_flowrate_capacity | AV498 | cubic_feet_per_minute |  |  |  |  | N
VAV-255 | supply_air_ventilation_flowrate_requirement | AV501 | cubic_feet_per_minute |  |  |  |  | N
VAV-255 | supply_air_flowrate_sensor | AV505 | cubic_feet_per_minute |  |  |  |  | N
VAV-255 | zone_air_cooling_temperature_setpoint | AV512 | degrees_celsius |  |  |  |  | N
VAV-255 | zone_occupancy_status | BV70 | [5 empty] | N
VAV-258 | supply_air_damper_percentage_command | AV562 | percent |  |  |  |  | N
VAV-258 | zone_air_temperature_sensor | AV565 | degrees_celsius |  |  |  |  | N
VAV-258 | supply_air_cooling_flowrate_capacity | AV567 | cubic_feet_per_minute |  |  |  |  | N
VAV-258 | supply_air_ventilation_flowrate_requirement | AV570 | cubic_feet_per_minute |  |  |  |  | N
VAV-258 | supply_air_flowrate_sensor | AV574 | cubic_feet_per_minute |  |  |  |  | N
VAV-258 | zone_air_cooling_temperature_setpoint | AV581 | degrees_celsius |  |  |  |  | N
VAV-258 | zone_occupancy_status | BV80 | [5 empty] | N
VAV-260 | supply_air_damper_percentage_command | AV727 | percent |  |  |  |  | N
VAV-260 | zone_air_temperature_sensor | AV730 | degrees_celsius |  |  |  |  | N
VAV-260 | supply_air_cooling_flowrate_capacity | AV732 | cubic_feet_per_minute |  |  |  |  | N
VAV-260 | supply_air_ventilation_flowrate_requirement | AV735 | cubic_feet_per_minute |  |  |  |  | N
VAV-260 | supply_air_flowrate_sensor | AV739 | cubic_feet_per_minute |  |  |  |  | N
VAV-260 | zone_air_cooling_temperature_setpoint | AV746 | degrees_celsius |  |  |  |  | N
VAV-260 | zone_occupancy_status | BV105 | [5 empty] | N
VAV-262 | supply_air_damper_percentage_command | AV796 | percent |  |  |  |  | N
VAV-262 | zone_air_temperature_sensor | AV799 | degrees_celsius |  |  |  |  | N
VAV-262 | supply_air_cooling_flowrate_capacity | AV801 | cubic_feet_per_minute |  |  |  |  | N
VAV-262 | supply_air_ventilation_flowrate_requirement | AV804 | cubic_feet_per_minute |  |  |  |  | N
VAV-262 | supply_air_flowrate_sensor | AV808 | cubic_feet_per_minute |  |  |  |  | N
VAV-262 | zone_air_cooling_temperature_setpoint | AV815 | degrees_celsius |  |  |  |  | N
VAV-262 | zone_occupancy_status | BV115 | [5 empty] | N
VAV-263 | supply_air_damper_percentage_command | AV833 | percent |  |  |  |  | N
VAV-263 | zone_air_temperature_sensor | AV836 | degrees_celsius |  |  |  |  | N
VAV-263 | supply_air_cooling_flowrate_capacity | AV838 | cubic_feet_per_minute |  |  |  |  | N
VAV-263 | supply_air_ventilation_flowrate_requirement | AV839 | cubic_feet_per_minute |  |  |  |  | N
VAV-263 | supply_air_flowrate_sensor | AV841 | cubic_feet_per_minute |  |  |  |  | N
VAV-263 | zone_air_cooling_temperature_setpoint | AV847 | degrees_celsius |  |  |  |  | N
VAV-263 | zone_occupancy_status | BV120 | [5 empty] | N
VAV-264 | supply_air_damper_percentage_command | AV599 | percent |  |  |  |  | N
VAV-264 | zone_air_temperature_sensor | AV602 | degrees_celsius |  |  |  |  | N
VAV-264 | supply_air_cooling_flowrate_capacity | AV604 | cubic_feet_per_minute |  |  |  |  | N
VAV-264 | supply_air_ventilation_flowrate_requirement | AV605 | cubic_feet_per_minute |  |  |  |  | N
VAV-264 | supply_air_flowrate_sensor | AV607 | cubic_feet_per_minute |  |  |  |  | N
VAV-264 | zone_air_cooling_temperature_setpoint | AV613 | degrees_celsius |  |  |  |  | N
VAV-264 | zone_occupancy_status | BV85 | [5 empty] | N
VAV-266 | supply_air_damper_percentage_command | AV15 | percent |  |  |  |  | N
VAV-266 | zone_air_temperature_sensor | AV18 | degrees_celsius |  |  |  |  | N
VAV-266 | supply_air_cooling_flowrate_capacity | AV20 | cubic_feet_per_minute |  |  |  |  | N
VAV-266 | supply_air_ventilation_flowrate_requirement | AV23 | cubic_feet_per_minute |  |  |  |  | N
VAV-266 | supply_air_flowrate_sensor | AV27 | cubic_feet_per_minute |  |  |  |  | N
VAV-266 | zone_air_cooling_temperature_setpoint | AV34 | degrees_celsius |  |  |  |  | N
VAV-266 | zone_occupancy_status | BV1 | [5 empty] | N
VAV-267 | supply_air_damper_percentage_command | AV52 | percent |  |  |  |  | N
VAV-267 | zone_air_temperature_sensor | AV55 | degrees_celsius |  |  |  |  | N
VAV-267 | supply_air_cooling_flowrate_capacity | AV57 | cubic_feet_per_minute |  |  |  |  | N
VAV-267 | supply_air_ventilation_flowrate_requirement | AV60 | cubic_feet_per_minute |  |  |  |  | N
VAV-267 | supply_air_flowrate_sensor | AV64 | cubic_feet_per_minute |  |  |  |  | N
VAV-267 | zone_air_cooling_temperature_setpoint | AV71 | degrees_celsius |  |  |  |  | N
VAV-267 | zone_occupancy_status | BV6 | [5 empty] | N
VAV-268 | supply_air_damper_percentage_command | AV89 | percent |  |  |  |  | N
VAV-268 | zone_air_temperature_sensor | AV92 | degrees_celsius |  |  |  |  | N
VAV-268 | supply_air_cooling_flowrate_capacity | AV94 | cubic_feet_per_minute |  |  |  |  | N
VAV-268 | supply_air_ventilation_flowrate_requirement | AV97 | cubic_feet_per_minute |  |  |  |  | N
VAV-268 | supply_air_flowrate_sensor | AV101 | cubic_feet_per_minute |  |  |  |  | N
VAV-268 | zone_air_cooling_temperature_setpoint | AV108 | degrees_celsius |  |  |  |  | N
VAV-268 | zone_occupancy_status | BV11 | [5 empty] | N
VAV-269 | supply_air_damper_percentage_command | AV126 | percent |  |  |  |  | N
VAV-269 | zone_air_temperature_sensor | AV130 | degrees_celsius |  |  |  |  | N
VAV-269 | supply_air_cooling_flowrate_capacity | AV132 | cubic_feet_per_minute |  |  |  |  | N
VAV-269 | supply_air_ventilation_flowrate_requirement | AV135 | cubic_feet_per_minute |  |  |  |  | N
VAV-269 | supply_air_flowrate_sensor | AV139 | cubic_feet_per_minute |  |  |  |  | N
VAV-269 | zone_air_cooling_temperature_setpoint | AV146 | degrees_celsius |  |  |  |  | N
VAV-269 | zone_occupancy_status | BV16 | [5 empty] | N
VAV-270 | supply_air_damper_percentage_command | AV170 | percent |  |  |  |  | N
VAV-270 | zone_air_temperature_sensor | AV173 | degrees_celsius |  |  |  |  | N
VAV-270 | supply_air_cooling_flowrate_capacity | AV175 | cubic_feet_per_minute |  |  |  |  | N
VAV-270 | supply_air_ventilation_flowrate_requirement | AV178 | cubic_feet_per_minute |  |  |  |  | N
VAV-270 | supply_air_flowrate_sensor | AV182 | cubic_feet_per_minute |  |  |  |  | N
VAV-270 | zone_air_cooling_temperature_setpoint | AV189 | degrees_celsius |  |  |  |  | N
VAV-270 | zone_occupancy_status | BV21 | [5 empty] | N
VAV-271 | supply_air_damper_percentage_command | AV207 | percent |  |  |  |  | N
VAV-271 | zone_air_temperature_sensor | AV210 | degrees_celsius |  |  |  |  | N
VAV-271 | supply_air_cooling_flowrate_capacity | AV212 | cubic_feet_per_minute |  |  |  |  | N
VAV-271 | supply_air_ventilation_flowrate_requirement | AV215 | cubic_feet_per_minute |  |  |  |  | N
VAV-271 | supply_air_flowrate_sensor | AV219 | cubic_feet_per_minute |  |  |  |  | N
VAV-271 | zone_air_cooling_temperature_setpoint | AV226 | degrees_celsius |  |  |  |  | N
VAV-271 | zone_occupancy_status | BV26 | [5 empty] | N
VAV-272 | supply_air_damper_percentage_command | AV244 | percent |  |  |  |  | N
VAV-272 | zone_air_temperature_sensor | AV247 | degrees_celsius |  |  |  |  | N
VAV-272 | supply_air_cooling_flowrate_capacity | AV249 | cubic_feet_per_minute |  |  |  |  | N
VAV-272 | supply_air_ventilation_flowrate_requirement | AV252 | cubic_feet_per_minute |  |  |  |  | N
VAV-272 | supply_air_flowrate_sensor | AV256 | cubic_feet_per_minute |  |  |  |  | N
VAV-272 | zone_air_cooling_temperature_setpoint | AV263 | degrees_celsius |  |  |  |  | N
VAV-272 | zone_occupancy_status | BV31 | [5 empty] | N
VAV-273 | supply_air_damper_percentage_command | AV281 | percent |  |  |  |  | N
VAV-273 | zone_air_temperature_sensor | AV284 | degrees_celsius |  |  |  |  | N
VAV-273 | supply_air_cooling_flowrate_capacity | AV286 | cubic_feet_per_minute |  |  |  |  | N
VAV-273 | supply_air_ventilation_flowrate_requirement | AV289 | cubic_feet_per_minute |  |  |  |  | N
VAV-273 | supply_air_flowrate_sensor | AV293 | cubic_feet_per_minute |  |  |  |  | N
VAV-273 | zone_air_cooling_temperature_setpoint | AV300 | degrees_celsius |  |  |  |  | N
VAV-273 | zone_occupancy_status | BV36 | [5 empty] | N
VAV-276 | supply_air_damper_percentage_command | AV382 | percent |  |  |  |  | N
VAV-276 | zone_air_temperature_sensor | AV385 | degrees_celsius |  |  |  |  | N
VAV-276 | supply_air_cooling_flowrate_capacity | AV387 | cubic_feet_per_minute |  |  |  |  | N
VAV-276 | supply_air_ventilation_flowrate_requirement | AV390 | cubic_feet_per_minute |  |  |  |  | N
VAV-276 | supply_air_flowrate_sensor | AV394 | cubic_feet_per_minute |  |  |  |  | N
VAV-276 | zone_air_cooling_temperature_setpoint | AV401 | degrees_celsius |  |  |  |  | N
VAV-276 | zone_occupancy_status | BV54 | [5 empty] | N
VAV-265 | supply_air_damper_percentage_command | AV129 | percent |  |  |  |  | N
VAV-265 | supply_air_cooling_flowrate_capacity | AV147 | cubic_feet_per_minute |  |  |  |  | N
VAV-265 | supply_air_ventilation_flowrate_requirement | AV148 | cubic_feet_per_minute |  |  |  |  | N
VAV-265 | supply_air_flowrate_sensor | AV152 | cubic_feet_per_minute |  |  |  |  | N
VAV-265 | zone_air_co2_concentration_sensor | AV1 | parts_per_million |  |  |  |  | N
VAV-265 | zone_air_co2_concentration_setpoint | AV2 | parts_per_million |  |  |  |  | N
VAV-254 | supply_air_damper_percentage_command | AV631 | percent |  |  |  |  | N
VAV-254 | zone_air_temperature_sensor | AV634 | degrees_celsius |  |  |  |  | N
VAV-254 | supply_air_cooling_flowrate_capacity | AV636 | cubic_feet_per_minute |  |  |  |  | N
VAV-254 | supply_air_ventilation_flowrate_requirement | AV637 | cubic_feet_per_minute |  |  |  |  | N
VAV-254 | supply_air_flowrate_sensor | AV639 | cubic_feet_per_minute |  |  |  |  | N
VAV-254 | zone_air_co2_concentration_sensor | AV641 | parts_per_million |  |  |  |  | N
VAV-254 | zone_air_co2_concentration_setpoint | AV642 | parts_per_million |  |  |  |  | N
VAV-254 | zone_air_cooling_temperature_setpoint | AV645 | degrees_celsius |  |  |  |  | N
VAV-254 | zone_occupancy_status | BV90 | [5 empty] | N
VAV-256 | supply_air_damper_percentage_command | AV530 | percent |  |  |  |  | N
VAV-256 | zone_air_temperature_sensor | AV533 | degrees_celsius |  |  |  |  | N
VAV-256 | supply_air_cooling_flowrate_capacity | AV535 | cubic_feet_per_minute |  |  |  |  | N
VAV-256 | supply_air_ventilation_flowrate_requirement | AV536 | cubic_feet_per_minute |  |  |  |  | N
VAV-256 | supply_air_flowrate_sensor | AV538 | cubic_feet_per_minute |  |  |  |  | N
VAV-256 | zone_air_co2_concentration_sensor | AV540 | parts_per_million |  |  |  |  | N
VAV-256 | zone_air_co2_concentration_setpoint | AV541 | parts_per_million |  |  |  |  | N
VAV-256 | zone_air_cooling_temperature_setpoint | AV544 | degrees_celsius |  |  |  |  | N
VAV-256 | zone_occupancy_status | BV75 | [5 empty] | N
VAV-257 | supply_air_damper_percentage_command | AV663 | percent |  |  |  |  | N
VAV-257 | zone_air_temperature_sensor | AV666 | degrees_celsius |  |  |  |  | N
VAV-257 | supply_air_cooling_flowrate_capacity | AV668 | cubic_feet_per_minute |  |  |  |  | N
VAV-257 | supply_air_ventilation_flowrate_requirement | AV669 | cubic_feet_per_minute |  |  |  |  | N
VAV-257 | supply_air_flowrate_sensor | AV671 | cubic_feet_per_minute |  |  |  |  | N
VAV-257 | zone_air_co2_concentration_sensor | AV673 | parts_per_million |  |  |  |  | N
VAV-257 | zone_air_co2_concentration_setpoint | AV674 | parts_per_million |  |  |  |  | N
VAV-257 | zone_air_cooling_temperature_setpoint | AV677 | degrees_celsius |  |  |  |  | N
VAV-257 | zone_occupancy_status | BV95 | [5 empty] | N
VAV-259 | supply_air_damper_percentage_command | AV695 | percent |  |  |  |  | N
VAV-259 | zone_air_temperature_sensor | AV698 | degrees_celsius |  |  |  |  | N
VAV-259 | supply_air_cooling_flowrate_capacity | AV700 | cubic_feet_per_minute |  |  |  |  | N
VAV-259 | supply_air_ventilation_flowrate_requirement | AV701 | cubic_feet_per_minute |  |  |  |  | N
VAV-259 | supply_air_flowrate_sensor | AV703 | cubic_feet_per_minute |  |  |  |  | N
VAV-259 | zone_air_co2_concentration_sensor | AV705 | parts_per_million |  |  |  |  | N
VAV-259 | zone_air_co2_concentration_setpoint | AV706 | parts_per_million |  |  |  |  | N
VAV-259 | zone_air_cooling_temperature_setpoint | AV709 | degrees_celsius |  |  |  |  | N
VAV-259 | zone_occupancy_status | BV100 | [5 empty] | N
VAV-261 | supply_air_damper_percentage_command | AV764 | percent |  |  |  |  | N
VAV-261 | zone_air_temperature_sensor | AV767 | degrees_celsius |  |  |  |  | N
VAV-261 | supply_air_cooling_flowrate_capacity | AV769 | cubic_feet_per_minute |  |  |  |  | N
VAV-261 | supply_air_ventilation_flowrate_requirement | AV770 | cubic_feet_per_minute |  |  |  |  | N
VAV-261 | supply_air_flowrate_sensor | AV772 | cubic_feet_per_minute |  |  |  |  | N
VAV-261 | zone_air_co2_concentration_sensor | AV774 | parts_per_million |  |  |  |  | N
VAV-261 | zone_air_co2_concentration_setpoint | AV775 | parts_per_million |  |  |  |  | N
VAV-261 | zone_air_cooling_temperature_setpoint | AV778 | degrees_celsius |  |  |  |  | N
VAV-261 | zone_occupancy_status | BV110 | [5 empty] | N
VAV-274 | supply_air_damper_percentage_command | AV318 | percent |  |  |  |  | N
VAV-274 | zone_air_temperature_sensor | AV321 | degrees_celsius |  |  |  |  | N
VAV-274 | supply_air_cooling_flowrate_capacity | AV323 | cubic_feet_per_minute |  |  |  |  | N
VAV-274 | supply_air_ventilation_flowrate_requirement | AV324 | cubic_feet_per_minute |  |  |  |  | N
VAV-274 | supply_air_flowrate_sensor | AV326 | cubic_feet_per_minute |  |  |  |  | N
VAV-274 | zone_air_co2_concentration_sensor | AV328 | parts_per_million |  |  |  |  | N
VAV-274 | zone_air_co2_concentration_setpoint | AV329 | parts_per_million |  |  |  |  | N
VAV-274 | zone_air_cooling_temperature_setpoint | AV332 | degrees_celsius |  |  |  |  | N
VAV-274 | zone_occupancy_status | BV44 | [5 empty] | N
VAV-275 | supply_air_damper_percentage_command | AV350 | percent |  |  |  |  | N
VAV-275 | zone_air_temperature_sensor | AV353 | degrees_celsius |  |  |  |  | N
VAV-275 | supply_air_cooling_flowrate_capacity | AV355 | cubic_feet_per_minute |  |  |  |  | N
VAV-275 | supply_air_ventilation_flowrate_requirement | AV356 | cubic_feet_per_minute |  |  |  |  | N
VAV-275 | supply_air_flowrate_sensor | AV358 | cubic_feet_per_minute |  |  |  |  | N
VAV-275 | zone_air_co2_concentration_sensor | AV360 | parts_per_million |  |  |  |  | N
VAV-275 | zone_air_co2_concentration_setpoint | AV361 | parts_per_million |  |  |  |  | N
VAV-275 | zone_air_cooling_temperature_setpoint | AV364 | degrees_celsius |  |  |  |  | N
VAV-275 | zone_occupancy_status | BV49 | [5 empty] | N
VAV-252 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-253 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-254 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-255 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-256 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-257 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-258 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-259 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-260 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-261 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-262 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-263 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-264 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-265 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-266 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-267 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-268 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-269 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-270 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-271 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-272 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-273 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-274 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-275 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y
VAV-276 | supply_air_flowrate_setpoint |  | cubic_feet_per_minute |  |  |  |  | Y

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device